LUMEN ASSET LCM - INVENTORY RECONCILIATION REPORT

Ambiflo Site No: A0001

CLLI code:       CSRKCOCF

Site Name:       Castlerock

Coordinates:     39.371693, -104.865836

Generated:       2026-02-23

--------------------------------------------------

1. NEW ITEMS FOUND IN BIM (Create in System of Record)

Total: 10

- [RACK] Name:   NEW 23 x 15 x 84 Generic Rack

Building:      0001

Suite:

Line Up:       002

Bay:           004

- [RACK] Name:   NEW 23 x 15 x 84 Generic Rack

Building:      0001

Suite:

Line Up:       004

Bay:           001

- [EQUIPMENT] Name: NEW Unidentified 1U Server

Building:         0002

Suite:

Line Up:          001

Bay:              001

U:                34

- [EQUIPMENT] Name: NEW Unidentified 1U Server

Building:         0002

Suite:

Line Up:          001

Bay:              001

U:                24

- [EQUIPMENT] Name: NEW Unidentified 1U Server

Building:         0002

Suite:

Line Up:          001

Bay:              001

U:                7

- [EQUIPMENT] Name: NEW Ciena 6500 MUX

Building:         0002

Suite:

Line Up:          001

Bay:              002

U:                6

- [EQUIPMENT] Name: NEW Unidentified 1U Server

Building:         0002

Suite:

Line Up:          001

Bay:              002

U:                27

- [EQUIPMENT] Name: NEW Unidentified 1U Server

Building:         0002

Suite:

Line Up:          001

Bay:              005

U:                13

- [EQUIPMENT] Name: NEW Ciena 6500 MUX

Building:         0003

Suite:

Line Up:          002

Bay:              008

U:                20

- [EQUIPMENT] Name: NEW Unidentified 4U

Building:         0003

Suite:            001

Line Up:          001

Bay:              010

U:                16

2. ATTRIBUTE MISMATCHES

Total: 9

- [undefined] (ID: 22077725)

> Line Up: BIM "002" → PRO "001"

> Bay No: BIM "003" → PRO "005"

- [undefined] (ID: 462348774)

> Line Up: BIM "003" → PRO "005"

- [undefined] (ID: 462348775)

> Line Up: BIM "003" → PRO "005"

- [undefined] (ID: 22077721)

> Line Up: BIM "004" → PRO "WMT"

> Bay No: BIM "002" → PRO "001"

- [undefined] (ID: 446535034)

> Line Up: BIM "001" → PRO "002"

- [undefined] (ID: 446648767)

> Bay No: BIM "002" → PRO "003"

- [undefined] (ID: 244224280)

> Line Up: BIM "001" → PRO "402"

> Bay No: BIM "003" → PRO "002"

- [undefined] (ID: 393074091)

> Line Up: BIM "001" → PRO "402"

> Bay No: BIM "004" → PRO "003"

- [undefined] (ID: 22462006)

> Line Up: BIM "001" → PRO "402"

> Bay No: BIM "005" → PRO "001"

3. MISSING IN BIM (Remove from System of Record)

Total: 17

- [RACK     ] ID: 21603449     | CSRKCOCF.001.0002..R01.001

Loc: CSRKCOCF.001.0002..R01.001

- [EQUIPMENT] ID: 21096143     | Generic OSP OCP Frame

Loc: CSRKCOCF.001.0001..001.001

- [EQUIPMENT] ID: 21096144     | Generic OSP OCP Frame

Loc: CSRKCOCF.001.0001..001.001

- [EQUIPMENT] ID: 20952415     | Generic Fiber Dist Panel

Loc: CSRKCOCF.001.0001..001.002

- [EQUIPMENT] ID: 21587767     | Generic Fiber Dist Panel

Loc: CSRKCOCF.001.0001..001.003

- [EQUIPMENT] ID: 20952416     | Generic Fiber Dist Panel

Loc: CSRKCOCF.001.0001..001.003

- [EQUIPMENT] ID: 20952418     | Generic Fiber Dist Panel

Loc: CSRKCOCF.001.0001..001.004

- [EQUIPMENT] ID: 20952417     | Generic Fiber Dist Panel

Loc: CSRKCOCF.001.0001..001.005

- [EQUIPMENT] ID: 436253417    | CIENA 6500

Loc: CSRKCOCF.001.0001..002.002

- [EQUIPMENT] ID: 462348663    | Generic Optical Splitter (OSPOSX)

Loc: CSRKCOCF.001.0001..005.001

- [EQUIPMENT] ID: 462348662    | Generic Optical Splitter (OSPOSX)

Loc: CSRKCOCF.001.0001..005.001

- [EQUIPMENT] ID: 462348665    | Generic Optical Splitter (OSPOSX)

Loc: CSRKCOCF.001.0001..005.002

- [EQUIPMENT] ID: 462348664    | Generic Optical Splitter (OSPOSX)

Loc: CSRKCOCF.001.0001..005.002

- [EQUIPMENT] ID: 21296776     | Generic Fiber Dist Panel

Loc: CSRKCOCF.001.0001..WMT.001

- [EQUIPMENT] ID: 21296780     | Generic Fiber Dist Panel

Loc: CSRKCOCF.001.0001..WMT.001

- [EQUIPMENT] ID: 8300393      | Unknown Unidentified Device

Loc: CSRKCOCF.001.0002..R01.001

- [EQUIPMENT] ID: 8282680      | Unknown Unidentified Device

Loc: CSRKCOCF.001.0002..R01.001